# System Specification

# Contents

1 Introduction . 1

6 Sensor calibration . 2

6.2 Measurement accuracy . 2

6.3 Reporting interval . 2

7 Maintenance . 3

7.1 Firmware . 3

## 1 Introduction

This document specifies the requirements for the sensor unit and its interfaces. The tolerance values in this section are normative.

The enclosure shall be sealed against water ingress.

Operating temperature range is -20 to +60 degrees Celsius.

## 6 Sensor calibration

The calibration parameters are listed below.

### 6.2 Measurement accuracy

| Parameter | Value |
| --- | --- |
| Range | 0-100 |
| Accuracy | ±5 % |

### 6.3 Reporting interval

The sensor shall report measurements every 100 milliseconds.

## 7 Maintenance

The unit must be serviced annually by qualified personnel.

### 7.1 Firmware

Deprecated: firmware version 1.x is no longer supported and should be avoided.

Appendix A: wiring diagram

| Pin | Signal |
| --- | --- |
| 1 | VCC |
| 2 | GND |
| 3 | DATA |

End of document.